SECTION 02880

### PART 1 GENERAL

  - RELATED WORK

Review Contract Documents for requirements that affect work of this section. Specification sections that directly relate to work of this section include, but are not limited to:

Section 02200 – Site Preparation

Section 02542 - Synthetic Grass & Turf

Section 02790 - Athletic & Recreational Surfaces

Section 02870 – Site Furnishings

Section 03300 – Cast in Place Concrete

Section 11480 - Athletic, Recreational and Therapeutic Equipment

1.02	SUBMITTALS

A. Product Data: Submit manufacturer’s product literature, technical specifications, and other data required to demonstrate compliance with specified requirements for all athletic equipment.

1.03	QUALITY ASSURANCE

A. Fabrication and installation of site improvements by experienced craftsmen with excellent record of performance on completed projects of comparable size, scope, and quality.

B. All materials, hardware and furnishings shall be new, first quality.

1.04	FIELD MEASUREMENTS

A. Contractor shall verify position and layout of all athletic field equipment. Verify dimensions by field measurements.

  - DESCRIPTION

A. Polyethylene baseball Protective Cap for fencing.

### PART 2 PRODUCTS

2.01 BASEBALL / SOFTBALL PRODUCTS

A. Base; manufacturers and product selections named are provided to establish the minimum standard, and shall be  as manufactured by:

SportsEdge®

P.O. Box 837 / 259 Murdock Rd.

Troutman, NC 28166

PH: 800-334-6057

email: info@sportsedge.com

www.sportsedge.com

B. COMPONENTS

1. FENCE CAP: Model SEFC250

A. 4” diameter slit polyethylene.

B. Color: Yellow

C. Weather-treated and UV protected.

2. TIES: cable ties to be installed every 3 feet, color yellow.

### PART 3 EXECUTION

3.01 INSTALLATION OF EQUIPMENT

A. All athletic equipment shall be installed as recommended with manufacturer's written directions, and as indicated on the drawings.

END OF SECTION