# SECTION 11 6833

### PART 1 GENERAL

  - RELATED WORK

Review Contract Documents for requirements that affect work of this section. Specification sections that directly relate to work of this section include, but are not limited to:

Section 33 3000 – Site Improvements

Section 32 1826 - Synthetic Grass Surfacing

Section 32 1822 – Synthetic Athletic & Sports Surfacing

Section 12 9300 – Site Furnishings

Section 03 3000 – Cast-in-Place Concrete

Section 11 6500 – Athletic & Recreational Equipment

1.02	SUBMITTALS

A. Product Data: Submit manufacturer’s product literature, technical specifications, and other data required to demonstrate compliance with specified requirements for all athletic equipment.

1.03	QUALITY ASSURANCE

A. Fabrication and installation of site improvements by experienced craftsmen with excellent record of performance on completed projects of comparable size, scope, and quality.

B. All materials, hardware and furnishings shall be new, first quality.

1.04	FIELD MEASUREMENTS

A. Contractor shall verify position and layout of all athletic field equipment. Verify dimensions by field measurements.

  - SYSTEM DESCRIPTION

A.  LACROSSE GOALS meeting all NCAA and NFSHSA requirements for men's lacrosse. Part #SELG-50.

### PART 2 PRODUCTS

2.01 LACROSSE GOALS

A. Base: Shall be model #SELG-50 supplied by:

SportsEdge®

P.O. Box 837

259 Murdock Rd.

Troutman, NC  28166

P: 800-334-6057

info@sportsedge.com

www.sportsedge.com

B. COMPONENTS

SUMMARY: Shall be model #SELG-50 meeting NCAA and NFSHSA specifications; manufactured with a steel frame and must meet the following criteria as a minimum.

- Frame:

  - 6’H x 6’W x 7’ D

  - mitered and welded corners

  - 1-1/2" steel pipe construction for full NCAA compliance

  - Rear brace lays flat along the ground to eliminate any obstruction to the ball

  - 1/4" steel net tie rail for a clean goal face

  - Color: Goal face is powder coated orange over galvanized steel pipe

- Net:

  - Part #SELGN-50

  - 6' H X 6' W X 7' D

  - 1.5” Square mesh, white

  - 4.0mm weatherproof polyester

### PART 3	EXECUTION

3.01 INSTALLATION OF EQUIPMENT

A. All athletic equipment shall be installed as recommended by manufacturer, and as indicated on the drawings.

END OF SECTION

# SECTION 11 6833

### PART 1 GENERAL

  - RELATED WORK

Review Contract Documents for requirements that affect work of this section. Specification sections that directly relate to work of this section include, but are not limited to:

Section 33 3000 – Site Improvements

Section 32 1826 - Synthetic Grass Surfacing

Section 32 1822 – Synthetic Athletic & Sports Surfacing

Section 12 9300 – Site Furnishings

Section 03 3000 – Cast-in-Place Concrete

Section 11 6500 – Athletic & Recreational Equipment

1.02	SUBMITTALS

A. Product Data: Submit manufacturer’s product literature, technical specifications, and other data required to demonstrate compliance with specified requirements for all athletic equipment.

1.03	QUALITY ASSURANCE

A. Fabrication and installation of site improvements by experienced craftsmen with excellent record of performance on completed projects of comparable size, scope, and quality.

B. All materials, hardware and furnishings shall be new, first quality.

1.04	FIELD MEASUREMENTS

A. Contractor shall verify position and layout of all athletic field equipment. Verify dimensions by field measurements.

  - SYSTEM DESCRIPTION

A.  Lacrosse goal transport cart, Part #SELG-HT.

### PART 2 PRODUCTS

2.01 LACROSSE GOALS

A. Base: Shall be model #SELG-HT supplied by:

SportsEdge®

P.O. Box 837

259 Murdock Rd.

Troutman, NC  28166

P: 800-334-6057

info@sportsedge.com

www.sportsedge.com

B. COMPONENTS

SUMMARY: Shall be model #SELG-HT manufactured with a steel frame and must meet the following criteria as a minimum.

- Cart:

  - Part #SELGN-50

  - Heavy duty steel base construction 3” x x1/4” angle.

  - Welded steel pipe handle 1.315” pipe, vinyl coated.

  - No flat 10” x 4” tires.

  - Fits all Lacrosse goal up to 6’8” wide.

  - Adjustable hold-down straps

### PART 3	EXECUTION

3.01 INSTALLATION OF EQUIPMENT

A. All athletic equipment shall be installed as recommended by manufacturer, and as indicated on the drawings.

END OF SECTION