SECTION 11 6500

### PART 1 GENERAL

  - RELATED WORK

Review Contract Documents for requirements that affect work of this section. Specification sections that directly relate to work of this section include, but are not limited to:

Section 33 3000 – Site Improvements

Section 32 1826 - Synthetic Grass Surfacing

Section 32 1822 – Synthetic Athletic & Sports Surfacing

Section 12 9300 – Site Furnishings

Section 03 3000 – Cast-in-Place Concrete

Section 11 6500 – Athletic & Recreational Equipment

1.02	SUBMITTALS

A. Product Data: Submit manufacturer’s product literature, technical specifications, and other data required to demonstrate compliance with specified requirements for all athletic equipment.

1.03	QUALITY ASSURANCE

A. Fabrication and installation of site improvements by experienced craftsmen with excellent record of performance on completed projects of comparable size, scope, and quality.

B. All materials, hardware and furnishings shall be new, first quality.

1.04	FIELD MEASUREMENTS

A. Contractor shall verify position and layout of all athletic field equipment. Verify dimensions by field measurements.

  - SYSTEM DESCRIPTION

A. Baseball Backstop System consisting of 8.625” diameter Steel Poles and STRYK-5388 rust inhibitive black coating. Cable System comprised of 3/16” heavy duty galvanized steel cable and galvanized carabiners. Netting shall be #42 HDPE twisted and knotted.

### PART 2 PRODUCTS

2.01 	BASEBALL BACKSTOP SYSTEM

A. Base: Model #SESBS30 by:

SportsEdge®

P.O. Box 837

259 Murdock Rd.

Troutman, NC 28166

P: 800-334-6057

info@sportsedge.com

www.sportsedge.com

B. COMPONENTS

SUMMARY: Baseball Backstop System shall be 40’x30’x40’ pole layout (per drawings) and meet the following criteria as a minimum standard: (designer to specify pole spacing)

1. Structural Poles:

a. 8.625" O.D. welded high tensile strength steel, .25” wall thickness with welded cap and integral lifting ring to prevent moisture from entering at the top and to ease the installation process.

b. Corrosion dipped, and finished with STRYK 5388 to form a solid coating bonded with the substrate, preventing corrosion.

c. 7.5’ depth embedment, 30’ above ground level (designer to adjust footing depth based on pole height, location and local soil conditions)

2. Cable and Tensioning System

a. All hardware including nuts, bolts, washers, are to be hot-dipped galvanized.

b. Cable shall be 3/16” heavy duty galvanized steel cable.

c. Galvanized steel carabiners

3. Netting

a. #42 HDPE twisted Knotted Netting

b. 3.75” Stretch Mesh

c. 1-7/8” Openings; netting Cut and Hung on Square

d. Full rope border that is hand tied around the entire perimeter.

e. Color: Black

f. Yarn: 380 Denier, Extruded HDPE Fibers

g. Tensile Avg:  220# breaking strength

h. Construction: 3 strand, Z twist into S twist

i. Melting Point: 248 to 266 Fahrenheit

j. Net Sections: 3 individual net sections

4. Accessories:

a. ½ gallon STRYK-5388 touch up coating

### PART 3	EXECUTION

3.01 INSTALLATION OF EQUIPMENT

A. All athletic equipment shall be installed as recommended by manufacturer, and as indicated on the drawings.

END OF SECTION