Section 11 6500

## PART 1: GENERAL

RELATED WORK

Review Contract Documents for requirements that affect work of this section. Specification sections that directly relate to work of this section include, but are not limited to:

Section 33 3000 – Site Improvements

Section 32 1826 - Synthetic Grass Surfacing

Section 32 1822 – Synthetic Athletic & Sports Surfacing

Section 12 9300 – Site Furnishings

Section 03 3000 – Cast-in-Place Concrete

Section 11 6500 – Athletic & Recreational Equipment

SYSTEM DESCRIPTION

Electrical / Communication junction box of heavy-duty aluminum construction,

15"W x 18"L x 14"H, stackable in 12" increments. Cover and Hand Hole to have synthetic turf cover installed on the job site by the turf installer. Assembly #SEF920

## PART 2: PRODUCTS

2.01 ELECTRICAL / COMMUNICATION JUNCTION BOX

Acceptable Manufacturers: Base; Communication Box as manufactured by:

SportsEdge®

P.O. Box 837  259 Murdock Rd.

Troutman, NC 28166

(P) 800-334-6057

info@sportsedge.com

www.sportsedge.com

COMPONENTS

1. Junction box: Model #SEF920 fabricated of aluminum having the following attributes:

a. Aluminum Construction

b. Dimensions: 15"W x 18"L x 14"H.

c. Stackable units.

2. Cover: includes the following components:

- Fabricated of aluminum and treated plywood.

- (1) Hand hole wood lids.

- Turf clamp kit

## PART 3: EXECUTION

3.03 INSTALLATION

Install as per the manufacturers recommended installation instructions.